HAYWOOD COUNTY EROSION CONTROL PROGRAM
(IN ACCORDANCE w/ NC DENR DLQ)
EROSION and SEDIMENTATION CONTROL PLAN PRELIMINARY REVIEW CHECKLIST


Project Name:  ___________________________________________________________________________

Physical Location/Address:  ______________________________________________________________
The following items shall be incorporated with respect to specific site conditions in an Erosion & Sedimentation Control Plan:
FINANCIAL RESPONSIBILITY/OWNERSHIP FORM
_____
Two copies of Forms and Plan / Additional Information.
_____
Completed, signed & notarized FRO Form.
_____
Accurate application fee payable to Haywood County ($350.00 per acre rounded up to the next acre – Plan Review Fee).
_____
An Additional 10% of the total fee will be charged for any land-disturbing activity in areas of the county that may impact classified trout waters.

_____
Certificate of assumed name, if the owner is a partnership.
_____
Name of Registered Agent (if applicable)

_____
Copy of the most current Deed for the site. Please make sure the deed(s) and ownership information are consistent between the plan sheets, local records and this form.

_____
Provide latitude and longitude (in decimal degrees) at the project entrance.


NOTE:
Plan review fees shall be doubled the normal fee amount when land-disturbing activity begins before a Land-Disturbing Permit is obtained from the County.

NOTE:
A Pre-Construction Conference is required.

LOCATION INFORMATION

______
Project location & labeled vicinity map (roads, streets, landmarks).
______
North arrow and scale.
______
Identify Water Body/Stream Classification for the project.
GENERAL SITE FEATURES (Plan elements)
_____
Property lines and ownership ID for all adjoining properties.
_____
Existing contours (topographic lines).
_____
Proposed contours.
_____
Limits of all disturbed areas (provide acreage total, delineate limits, and label). Be sure to include all access to measures; lots that will be disturbed, drives, and utilities that may extend offsite.

_____
Planned and existing building locations and elevations.
_____
Planned & existing road locations & elevations, including temporary access roads.
_____
Lot and/or building numbers, septic areas and landscape areas. 
_____
Hydrogeologic features:  rock outcrops, seeps, springs, wetlands and their limits, streams, lakes, ponds, dams, etc. (include all required local or state buffer zones and any DWQ Riparian Buffer determinations).
_____
Easements and drainageways, particularly required for offsite affected areas. Include copies of any recorded easements and/or agreements with adjoining property owners. 

_____
Profiles of streets, utilities, ditch lines, etc.

_____
Stockpiled topsoil or subsoil locations showing control measures.
_____
If the same person conducts the land-disturbing activity & any related borrow or waste activity, the related borrow or waste activity shall constitute part of the land-disturbing activity unless the borrow or waste activity is regulated under the Mining Act of 1971, or is a landfill regulated by the Division of Waste Management.  If the land-disturbing activity and any related borrow or waste activity are not conducted by the same person, they shall be considered separate land-disturbing activities and must be permitted either through the Sedimentation Pollution Control Act as a one-use borrow site or through the Mining Act.

_____
Location and details associated with any onsite stone crushing or other processing of material excavated.  If the affected area associated with excavation, processing, and transport of such materials will comprise one (1) or more acres, and materials will be leaving the development tract, a mining permit will be required.   

______
Required Army Corps 404 permit and Water Quality 401 certification (e.g. stream disturbances, culverts in streams, etc.).
EROSION & SEDIMENT CONTROL MEASURES (on plan)      

______
Legend (provide appropriate symbols for all measures and reference them to the construction details).
_____
Location of temporary measures.
_____
Location of permanent measures.
_____
Construction drawings and details for temporary and permanent measures. Show measures to scale on plan and include proposed contours where necessary. Ensure design storage requirements are maintained through all phases of construction.

_____
Maintenance requirements for measures.
_____
Contact person responsible for maintenance.
_____
Maintenance regulations and responsible person(s) of permanent measures.
SITE DRAINAGE FEATURES 

_____
Existing and planned drainage patterns (include off-site areas that drain through project and address temporary and permanent conveyance of stormwater over/through graded slopes and fills).
_____
Method used to determine acreage of land being disturbed and drainage areas to all proposed measures (e.g. delineation map).
_____
Size, pipe material and location of culverts and sewers.
_____
Soil information:  type, special characteristics.
_____
Soil information below culvert storm outlets.
_____
Name and classification of receiving water course or name of municipal operator (only where stormwater discharges are to occur).
Page 1 of 2
STORMWATER CALCULATIONS

_____
Pre-construction runoff calculations for each outlet from the site (at peak discharge points). Be sure to provide all supporting data for the computation methods used (rainfall data for required storm events, time of concentration/storm duration, and runoff coefficients). 

_____
Design calculations for peak discharges of runoff (including the construction phase & the final runoff coefficients for the site).
_____
Design calcs for culverts and storm sewers (include HW, TW and outlet velocities).
_____
Discharge and velocity calculations for open channel and ditch flows (easement & rights-of-way).
_____
Design calcs for cross sections and method of stabilization for existing and planned channels (include temporary linings). Include appropriate permissible velocity and/or shear stress data.

_____
Design calcs and construction details for energy dissipaters below culvert and storm sewer outlets (include stone/material specs & apron dimensions).  Avoid discharges on fill slopes.

_____
Design calcs and dimension of sediment basins (note current surface area and dewatering standards as well as diversion of runoff to the basins). Be sure that all surface drains, including ditches and berms, will have positive drainage to the basins.

VEGETATIVE STABILIZATION
_____
Area & acreage to be stabilized with vegetation.
_____
Method of soil preparation.
_____
Seed type & rates (temporary & permanent).
_____
Fertilizer type and rates.
_____
Mulch type and rates (include mulch anchoring methods to be used).
NOTE:
Plan should include provisions for groundcover on exposed slopes within 21 calendar days following completion of any phase of grading; permanent groundcover for all disturbed areas within 15 working days or 90 calendar days (whichever is shorter) following completion of construction or development.

NARRATIVE AND CONSTRUCTION SEQUENCE
_____
Narrative describing the nature & purpose of the construction activity.
_____
Construction sequence related to erosion and sediment control (including installation of critical measures prior to the initiation of the land-disturbing activity & removal of measures after areas they serve are permanently stabilized). Address all phases of construction and necessary practices associated with temporary stream bypasses and/or crossings.

_____
Bid specifications related only to erosion control.

TROUT BUFFER ZONES AND HQW AREAS
_____
Delineate minimum trout buffer zones.
NOTE:
State law requires that unnamed tributaries to DEM classified “trout waters” have the same protection as those streams to which they are tributary.  High Quality Water zones have differing ground cover rules and a size-of-disturbed-area restriction.

GRADED SLOPES AND FILLS
_____
Identify all Cut Slopes that are steeper than 1:1 and include slope height (vertical). 

_____
Identify all Fill Slopes that are steeper than 1.5:1 and include slope height (vertical).
_____
Show all proposed Retaining Walls

_____
Identify required Buffer Zones for all slope construction or repair.

_____
Identify all Borrow and Waste Areas (include off-site locations).

_____
Identify Compaction Methods for Fills.

_____
Identify Slope Protection Methods (including Diversions).

_____
Identify all Utilities in Fills.



Rev: 2/10/09; 5/18/12
Page 2 of 2
